3-Part CSI MasterFormat Specification

SECTION 10 2600

WALL AND DOOR PROTECTION

- - GENERAL

## SECTION INCLUDES

### Corner Guard, Polycarbonate

## COORDINATION

### If product is to be recessed, coordinate with substrate work so that products are available for placing integrally with wall construction.

## SUBMITTALS

## A.	Product Data: Manufacturers product specifications, installation and maintenance instructions.

## B.	Shop Drawings: Show layout and types of corner guard not less than half-scale sections of typical installations, details of patterns or designs, anchors, and accessories, and field measurements of substrate to receive corner guards.

## C.	Samples for Selection Purposes: Actual sections of material in a convenient but representative size showing full range of colors, textures, finishes and patterns available for each type specified.

## D.	Installation, Operations and Maintenance data.

## E.	LEED Submittals:

## 1.	Product Data for Credit IEQ 4.1: For adhesives, documentation including printed statement of VOC content.

## 2.	Laboratory Test Reports for Credit IEQ 4: For adhesives, documentation indicating that products comply with the testing and product requirements of the California Department of Health Services foot "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

## QUALITY ASSURANCE

- Comply with NFPA 101 for interior finish materials. Smoke developed less than 450F and flame spread of 25 or less in accordance with ASTM E84.

## DELIVERY, STORAGE AND HANDLING

### Delivery: Deliver materials to site in manufacturer’s original, unopened containers and packaging with labels clearly indicating manufacturer and material.

### Storage: Store materials indoors in a clean, dry area protected from damage and in accordance with manufacturer’s instructions.

### Handling: Protect materials during handling and installation to prevent damage.

- - PRODUCTS

2.01	MANUFACTURER

Babcock-Davis

9300 73rd Ave North

Brooklyn Park, MN 55428

PH: 888.412.3726

www.BabcockDavis.com

### 2.01 	Corner Guard, Polycarbonate

- Model CGL Lexan® polycarbonate corner guard mechanically attached to substrate corner with screws. Exposed surfaces shall be free of wrinkling, chipping, discoloration, or other imperfections.

  - Dimensions

    - Wing size:

      - 3/4 inch (19.05mm), 4 foot length, surface mount, Model: BCGLSS75X48

      - 3/4 inch (19.05mm), 8 foot length, surface mount Model: BCGLSS75X96

      - 1-1/8 inch (28.56mm), 4 foot length, surface mount Model: BCGLSS1125X48

      - 1-1/8 inch (28.56mm), 8 foot length, surface mount Model: BCGLSS1125X96

      - 1-1/2 inch (38.1mm), 4 foot length, surface mount Model: BCGLSS15X48

      - 1-1/2 inch (38.1mm), 8 foot length, surface mount Model BCGLSS15X96

      - 2 inch (50.8mm), 4 foot length, surface mount Model: BCGLSS2X48

      - 2 inch (50.8mm), 8 foot length, surface mount Model: BCGLSS2X96

      - 2-1/2 inch (63.5mm), 4 foot length, surface mount Model: BCGLSS25X48

      - 2-1/2 inch (63.5mm), 8 foot length, surface mount Model: BCGLSS25X96

    - Corner angle type: 90 degree standard

      - Specify other (135 degree for 2-1/2 inch wing only: Model BCGLSS25X4-D135 or BCGLSS25X96-D135)

  - Profile: High impact Lexan® polycarbonate 0.1 inch (2.54mm) thick. Tested in accordance with ASTM D1929.

  - Mounting: Standard pre-drilled holes

  - Color: Clear

- - EXECUTION

3.01	EXAMINATION

- Verify by examination that wall surface is acceptable to receive the specified corner guard. Notify the Architect in writing if wall surfaces are not acceptable.

      - Do not begin installation until unacceptable conditions have been corrected.

3.02	INSTALLATION

A. Place the corner guard in position. Secure in position through pre-drilled holes with mounting screws.

3.03	CLEANING

A.	Clean corner guards of adhesives, dust, dirt, and other contaminants.

END OF SECTION

Rev 12/17