**Cast-in, Level Bed Aluminum Frames IO&M**

**Entrance Mats and Grates**

**Frame model: BFV34LBC**

# Prepare for Installation


1. Locate the packing slip(s) and shop drawings.
2. Verify that all products listed on the packing slip are included in the package.
3. Check the products for damage. If products are damaged, report a freight claim immediately and leave the products in their packaging. If you sign for products without reporting damage you waive your right to a freight claim and will be responsible for their replacement cost.
4. Read the instructions thoroughly before beginning installation.

# Install the Frame

A flat recess and accurately installed frames are critical to the overall performance of the mat / grate. Utilize a self-leveling compound (provide by others) if necessary to ensure a level recess,

1. The rough opening for the frame should be at least the depth of the frame and 6” wider and longer than the frame. This allows room to maneuver the frame and provides clearance for the anchor bolts.
2. Insert the 1/4” x 3” anchor bolts and nuts in the frame channels. The anchor bolts should be spaced at a maximum distance of 24” on all sides of the frame.
3. Assemble the frame sections according to the shop drawings. Note that there are two types of frames: ledge (sides) and plain (front and back.) The ledge pieces can serve as a screed for leveling the concrete. If frames lengths are provided in sections, splice bolts are provided for connecting pieces together. Insert the 1/4-20 x 1” self-threading screws through the pre-punched holes in the plain sections of the frame and into the screw bosses on the ledge sections without tightening them completely. When the frame is completely assembled, finish tightening all of the screws.

*Illustration 1:*



1. Place the assembled frame into the opening. Shim as necessary to level the frame to the final height of the finished floor surface.
2. Pour cement mortar around the edges of the frame and the center in sufficient quantity to be level with the inside lip of the frame.
3. With a board that is slightly shorter than the inside of the frame, smooth and level the mortar. It is critical that the recess be absolutely flat within 1/8” over 10’ and at the correct height to prevent damage to the product.
4. Before the mortar sets, check the frame to make sure that it is plumb, that the members join at the correct angles, and that it is at the correct height. Also, check the measurements of the frame against the shop drawings in several locations to make sure that the sizes are correct. The mat / grate will not fit if the frame is not installed exactly as indicated on the shop drawings. Use spreaders if necessary to hold the frame at the correct dimensions.
5. After the mortar has set, lay the optional drain pan material (if applicable) in the bottom of the recess. Caulk all edges and seams.
6. When the cement has hardened, install plywood or other material in the recess to protect the edges of the frame until it is time to install the grates. Wait to install the mats / grates until the building is ready for use.

# Install the Grate

1. Remove the plywood or other filler from the recess and clean the recess thoroughly. Note that debris will cause irregularities in the recess that may cause the grate to rock or create a tripping hazard.
2. Consult drawings to determine the correct locations of the grate sections. Note that grates must be in the proper location, with all sections facing the same direction. The triangular keylock holes will all point the same direction when installed properly.
3. Move the cushions to the outer edges of each section and spaced at a maximum distance of 24” on the rails.
4. Set grates into the recess.
5. Adjust cushions to compensate for slight irregularities in the recess.
6. Save the installation and maintenance instructions and include them with the closeout documentation for the owner and maintenance personnel.

* NOTE: EnvIRONtread® Tread II grates with either radius or angle cuts may include trim flange. The flange will arrive with industrial grade tape adhered to the outer edge. Peel the backing from the tape and insert the flange between the grate and the frame, the 5/8” trim will face in towards the center of the grate and the tape will adhere to the frame.

Continued maintenance is critical to the long term safety and performance of the mat / grate. Remove the mat / grate and clean the recess periodically to prevent the surface from becoming uneven. Debris build up within the recess could lead to deflection in the grate and may possibly cause tripping hazards.

# Clean the Treads

The type and schedule of maintenance of your grate or mat will depend upon location and amount of traffic. See the outline below for cleaning instructions for the variety of tread insert materials.

* EnvIRONtread® Tread II
  + A good heavy-duty vacuum cleaner with a rotating brush is the most effective way to routinely clean the carpet in your entrance grate or mat. By vibrating the fibers, this type of vacuum not only cleans the surface of the carpet, but also removes soil that is imbedded into the pile. The rotating brush aids in keeping the pile upright for longer lasting beauty.
  + The heaviest traffic areas should be vacuumed daily and the light traffic areas as infrequently as weekly.
  + Carpet should be deep cleaned with a hot water extraction cleaner once per month or when vacuuming will no longer remove the soil. This may be monthly, quarterly, or longer, depending upon soil and traffic conditions.
  + Inspect the grate or mat regularly for spots and stains, to reduce the possibility of them becoming permanent.
  + Removing Spots
    - If the spot is semi-solid, scrape with a spoon or spatula and then blot with a damp sponge. Work from the edge of the spot to the center. This will keep the stain from spreading. If this procedure does not work, use a spot remover.
    - We recommend a dry system because it reduces solid build-up won’t leave floors wet and slippery, and there is no risk in damaging the carpet from dye bleeding. For most spills such as coffee, tea, pet stains, etc., a dry soil extractor works best.
    - Wet cleaning methods, including aerosols, foams, hot water extraction, or shampoo will work, but sometimes they leave sticky detergent residue that will accelerate soil build-up.
    - For oily stains such as tar, grease, paint, etc., a non-flammable dry cleaning solvent works best. Be extremely careful when using dry cleaning solvent. Take care to check for color fastness before cleaning the entire surface. Put a few drops of stain remover in an inconspicuous area and press the area with a clean cloth for ten seconds. If the color fades or changes, discontinue use.

Follow the tread maintenance instructions to ensure the long life of the grate tread. Contact your representative or Babcock-Davis for information on replacing damaged treads.