3-Part CSI MasterFormat Specification

SECTION 08 3123

Floor DOORs AND FRAMES

Rev 11/22

- GENERAL

SUMMARY

Section includes:

Floor Doors for access between building floors as indicated on drawings and specified herein

references

        - Aluminum Diamond Tread Plate:  ASTM B632-02, 1/4 inch 6061-T6 aluminum with mill finish.

Aluminum Extrusion:  6061-T6 aluminum.

Steel Diamond Tread Plate:  ASTM A786.

Steel Angle:  ASTM A36-94 steel frame, structural.

Stainless Steel Diamond Tread Plate:  ASTM A793 stainless steel, No. 304 finish.

Stainless Steel Angle:  ASTM A276 stainless steel, No. 304 finish.

Stainless Steel Smooth Plate:  ASTM A240 smooth plate stainless steel, type No. 316.

Fasteners:  Type No. 316 stainless steel.  ASTM F593 for bolts and ASTM F594 for nuts.

General:  Comply with NAAMM's "Metal Finishes Manual for Architectural and Metal Products" for recommendations for applying and designating finishes.

Action SUBMITTALS

        - Shop Drawings: Indicate configuration and dimensions, show components, adjacent construction, required clearances and tolerance and other affected work.

Product Data:  Manufacturer’s technical data for each type of floor door, including setting drawings and finish requirements

informational submittals

        - Provide manufacturer's standard warranty.

Sustainable Design Submittals:

Building Product Disclosure Requirements: To encourage the use of building products that are working to minimize their environmental and health impacts, provide the following information when available:

            - Material Ingredients Documentation demonstrating the chemical inventory of the product

Closeout submittals

        - Manufacturer's Installation Instructions and Operation & Maintenance:  Indicate installation, operation and maintenance requirements and rough-in dimensions.

Quality Assurance

        - Qualifications:

Manufacturer/Installer:  Company specializing in manufacturing and installation of components specified in this Section with minimum of 5 years documented experience.

Regulatory Requirements:

International Building Code for fire resistance rated construction

IBC Section 712 for Floor Fire Doors- tested in accordance with NFPA 288 and labeled by approved agency; Warnock Hersey or Underwriters Laboratory.

- PRODUCTS

MANUFACTURER

        - Babcock-Davis

- 9300 73rd Ave N

- Brooklyn Park, MN  55428

- PH: 888-412-3726

- www.Babcock-Davis.com

ALUMINUM FLOOR DOORS

        - Recessed Cover Aluminum Floor Door: Allows for flooring infill.  Model BFDRPA

          - Clear Unobstructed Opening Size: <Insert dimensions>.

Frame: 1/4 inch (6.4 mm) mill finish aluminum, angle profile. [Frame with holes for bolt in] [Frame with integral masonry anchors for cast-in-place].

Door: [Single] [Double] leaf; 1/4-inch-thick (6.4-mm-thick) aluminum smooth plate with 1/8-inch-deep (3.2-mm-deep) recess for application of finish materials.

Loading Capacity: 300-lbf/sq. ft. (14.4-kN/sq. m) pedestrian live load and a maximum deflection of L/150.

Gasket around entire perimeter

Hardware:

            - Material and Finish: Type 316 stainless steel, including latch and lifting mechanism assemblies, hold-open arms, and brackets, hinges, pins, and fasteners.

            - Hinges: Heavy-duty butt hinges with stainless-steel pins.

            - Operating Mechanism: Coil Type 17-7 stainless steel compression springs enclosed in Type 316 stainless steel telescopic tubes designed to provide lift assistance, heavy-duty hold-open arm that automatically locks door open at 90 degrees, release handle with red vinyl grip that allows for one-handed closure, and recessed lift handle.

            - Latch: Stainless-steel slam latch with inside lever handle and outside removable square L handle.

Optional Lock: [Recessed padlock hasp] [Recessed padlock hasp with cover] [Keyed deadbolt lock] [Keyed deadbolt lock with threaded protection plug] [Hasp and staple] <Insert lock type>

Safety Accessories: Safety [chains] [net] [railing] [telescoping safety post] <Insert safety device>

STEEL FLOOR DOORS

        - Recessed Cover Steel Floor Door: Allows for flooring infill.  Model BFDRPP

          - Clear Unobstructed Opening Size: <Insert dimensions>.

Frame: Steel, angle profile.

Door: [Single] [Double] leaf; 3/16-inch-thick (4.8-mm-thick), smooth plate; [gray primer] [SlipNOT®] steel plate.

Manufacturers' offerings for loading capacity vary; confirm availability. See the Evaluations for discussion of AASHTO H20.

Loading Capacity: 300-lbf/sq. ft. (14.4-kN/sq. m) pedestrian live load with a maximum deflection of L/150; Model BFDRPP.

Hardware:

            - Material and Finish: Type 316 stainless steel, including latch, lifting mechanism assemblies, hold-open arms, brackets, hinges, pins, and fasteners.

            - Hinges: Heavy-duty butt hinges with stainless-steel pins fastened to door with stainless steel carriage bolts.

            - Operating Mechanism: Adjustable Type 17-7 Stainless steel counterbalancing spring enclosed in a telescoping tube, heavy-duty hold-open arm that automatically locks door open at 90 degrees, release handle with red vinyl grip that allows for one-handed closure and recessed lift handle.

            - Latch: Stainless-steel slam latch with inside lever handle and outside removable square L handle.

Optional Lock: [Keyed deadbolt lock] [Keyed deadbolt lock with threaded protection plug] [Hasp and staple] <Insert lock type>.

Safety Accessories:  Safety [grate] [chains] [net] [railing] [telescoping safety post] <Insert safety device>.

- EXECUTION

EXAMINATION

        - Verify that preparation and affected dimensions are acceptable.

Verify tolerances and correct improper conditions.

PREPARATION

        - Advise installers of details relating to floor hatch installation, including rough opening dimensions, locations of supports, and anchoring methods.

INSTALLATION

        - Follow manufacturer’s instructions for installing floor doors and hatches.

Install frames plumb and level in opening, in proper alignment with floor surface for flush installation.  Secure rigidly in place.

Position units to provide convenient access to concealed Work requiring access.

ADJUSTING

        - Operational Units:  Test-operate units with operable components.

Clean and lubricate joints and hardware.

Adjust for proper operation.

CLEANing

        - Clean adjacent surfaces and remove unused product and debris from site.

Adjust doors for smooth operation.

- END OF SECTION