3-Part CSI MasterFormat Specification

SECTION 07 7200

Roof Accessories:  roof hatch and smoke vent

GENERAL

1.1	SUMMARY

- Section includes:

- Roof Hatches.

  - Personnel II Series are standard stock sizes of metal, single door hatches used by personnel.

  - Equipment Series are used to install or service large equipment through the roof.

- Accessory Products for Roof Hatches

  - Safety Railings for all roof hatches

  - Safety posts for vertical ladder access roof hatches

1.2	REFERENCES

- Division 05 for ladders and stairs

- Division 07 for roofing and sealants.

1.3	COORDINATION

- Coordinate layout and installation of roof accessories with roofing membrane and base flashing and interfacing and adjoining construction to provide a watertight installation.

- Coordinate dimensions with rough-in information or Shop Drawings of equipment to be supported.

1.4	SUBMITTALS

- Shop Drawings:  Indicate configuration and dimension of components, adjacent construction, required clearances and tolerances, and other affected Work.

- Hatch Units:  Show types, elevations, thickness of metals, and full size profiles.

- Hardware:  Show materials, finishes, locations of fasteners, types of fasteners, locations and types of operating hardware, and details of installation.

- General:  Show connections of units and hardware to other Work.  Include schedules showing location of each type and size of unit.

- Product Data:  Manufacturer’s technical data for each type of hatch assembly, including setting drawings, templates, finish requirements, and details of anchorage devices.

- Include complete schedule, types, locations, construction details, finishes, latching or locking provisions, and other pertinent data.

- Contract Closeout Submittals

- Installation, Operating &  Maintenance manuals

1.5	QUALITY ASSURANCE

- Regulatory Requirements:

- OSHA 29 CFR 1910.23 Guarding floor and wall openings and holes

- OSHA 29 CFR 1926.502 Fall protection systems criteria

- International Building Code (IBC) Section 1013.6 Roof Access

- International Building Code (IBC) Section 1009.11  Means of Egress, Stairways, Stairway to Roof

- Underwriters Laboratories Inc, UL 793 Listed for Heat and Smoke Vents

- FM Global, Factory Mutual, FM 4430 Heat and Smoke Vents for Roofs

- Reference NFPA 204 for general maintenance of Heat and Smoke vents.

- Qualifications:

- Manufacturer/Installer:  Company specializing in manufacturing and installation of components specified in this Section with minimum of 5 years documented experience.

1.6	DELIVERY, STORAGE, AND HANDLING

- Deliver materials to Project site ready use.

- Exercise proper care in handling of Work so as not to disrupt finished surfaces.

- Store materials under cover in a dry and clean location off the ground.

1.7	WARRANTY

- Provide manufacturer's standard 5 year warranty.  All roof hatches and smoke vents shall be free from manufacturing defects in materials and workmanship for a period of five (5) years from the date of shipment.  Should a product fail to function in normal use within this period, manufacturer shall furnish a replacement or new part at manufacturers’ discretion.

PART 2 - PRODUCTS

2.1	MANUFACTURER

- Babcock-Davis

9300 73rd Ave N.

Brooklyn Park, MN  55428

Phone: 763-488-9247

www.babcockdavis.com

2.2	ROOF HATCH

- Roof Hatches:

- Type and Size: Equipment Hatch metal lid with 90 degree opening, BRHE [48 by 48 inches (1220 by 1220 mm)] [60 by 60 inches (1525 by 1525 mm)] [72 by 72 inches (1830 by 1830 mm)] [72 by 96 inches (1830 by 2440 mm)] <Insert dimensions>.

Custom sizes are available in aluminum up to 14 feet (4267 mm) by 20 feet (6096 mm). Verify the size of the equipment to determine clear opening.

- Clear Unobstructed Opening Size: <Insert dimensions>.

Verify load requirements with authorities having jurisdiction.

- Loads: Minimum 40-lbf/sq. ft. (1.9-kPa) external live load with a maximum deflection of 1/150th of the span external live load and 20-lbf/sq. ft. (0.95-kPa) internal uplift load.

- Cover: [Single door] [Double door].

- Hatch Material:

- Cover:  [0.07895 inch (1.9 mm) galvanneal steel] [0.0907 inch (3.2 mm) aluminum] [0.07895 inch (1.9 mm) Type 304 stainless steel]

- Cover Insulation: 1 inch (25 mm) polystyrene

- Insulation Options: [1 inch (25 mm) polyisocyanurate] [1 inch (25 mm) polystyrene] [2 inch (50 mm) polyisocyanurate]

Curb height in "Curb: paragraph below may be determined by adding thickness of roof insulation to the minimum base flashing height recommended by roofing membrane manufacturer or established by office practice.

- Curb: [0.07895 inch (1.9 mm) galvanneal steel] [0.0907 inch (3.2 mm) aluminum] with a [single wall curb] [double wall curb/liner] [consult manufacturer for additional curb options], with integral counterflashing. Mounting flange continuous around base of frame.

- Fabricate curbs to minimum height of [12 inches (305 mm)] [<Insert dimension> above roofing surface unless otherwise indicated.

- Sloping Roofs: Where slope or roof deck exceeds 3:12, fabricate curb with perimeter curb height that is tapered to accommodate roof slope so that top surfaces of perimeter curb are level.

- Curb Insulation: 1 inch (25 mm) polyisocyanurate

- Insulation Options:  [2 inch (50 mm) polyisocyanurate]

First option in "Finish" subparagraph below applies only to aluminum.

- Finish: [Mill finish] [TGIC Polyester powder coat paint] [Trinar].

Retain "Color" subparagraph below if retaining either of the last two options in "Finish" subparagraph above.

- Color: [Red Oxide] [High Reflectance White] [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

- Hardware: [Zinc plated steel] [Type 316 stainless steel].

- Hinge/Spring Assembly: Tamper proof pin type hinge/spring assembly with compression springs contained within telescope tubes.

- Hold Open Device: Automatic zinc plated steel hold open arm with red vinyl grip handle.

- Latch: Zinc plated steel latch with inside and outside operating turn handles and padlock hasp provisions.

- Gasket: Extruded EPDM adhesive back seal, continuous around cover.

Retain one or both "Safety Railing System" and "Ladder-Assist Post" paragraphs below; revise to suit Project. If retaining both paragraphs, indicate location of each on Drawings or by inserts. Consult authorities having jurisdiction for their requirements.

- Safety Railing System: Model BSRC Roof-hatch manufacturer's standard system including rails, clamps, fasteners, safety barrier at railing opening, and accessories required for a complete installation; attached to roof hatch and complying with 29 CFR 1910.23 requirements and authorities having jurisdiction.

Retain "Height" Subparagraph below if railing system is not fully detailed on Drawings. Option is based on OSHA fall protection requirements; revise to suit Project.

- Height: 42 inches (1060 mm) above finished roof deck.

Dimensions in "Rails" subparagraph below is typical; other diameters and thicknesses may be specified; revise to suit Project.

- Rails:

- Aluminum pipe, 1-1/4 inch (31 mm), 1.66 inch (42 mm) outside diameter, schedule 40 pipe.

- Fittings: Cast aluminum alloy with set screw hold.

- Mounting Brackets: 3/16 inch (4.75 mm) steel, zinc plated with nut backing plate.

- Exit: [Self-closing gate, 1-1/4 inch (32 mm) aluminum  self-closing with coil spring] [Chain, 3/16 inch (4.76 mm) zinc plated steel link chain with spring clip ends].

- Ladder-Assist Post: Model BSP Roof-hatch manufacturer's standard device for attachment to roof-access ladder.

- Operation: Post locks in place on full extension; release mechanism returns post to closed position.

Option in "Height" Subparagraph below is typical height.

- Height: 42 inches (1060 mm) <Insert dimension> above finished roof deck.

- Material: [Steel tube] [Stainless steel] [Aluminum].

Option in "Post" Subparagraph below is an example only; revise to suit Project.

- Post: 1-1/2 inch (38.1mm) by 1-1/2 inch (38.1mm) by  1/8 inch (3.2mm)  <Insert dimension> diameter high strength square.

- Finish: [Manufacturer's standard baked enamel or powder coat] <Insert finish>.

- Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

- Safety Grab Bar: Model BSGBG  provide safe access through roof hatches while providing added functionality and weight bearing support

- Operation: mounts through a corner section through the curb counterflashing.

- Material: Aluminum pipe 1-1/4 inch (32 mm) inside diameter Schedule 40 ATSM A53 Seamed Steel

- Fittings: Cast aluminum alloy with set screw hold

- Hardware:  Hex head bolts 3/8 inch (9.5 mm) x 3/4 inch (19 mm)

- Finish: [Manufacturer's standard baked enamel or powder coat] <Insert finish>.

PART 3 - EXECUTION

3.1	EXAMINATION

- Verification of Conditions:  Examine areas and conditions under which Work is to be performed and identify conditions detrimental to proper or timely completion

- Verify that deck, curbs, roof membrane, base flashing, and other items affecting Work of this Section are in place and positioned correctly.

- Verify tolerances and correct improper condition

- Identify conditions detrimental to providing proper quality and timely completions of work.

- Do not proceed with installation until detrimental conditions have been corrected.

3.2	INSTALLATION

- Comply with manufacturer's recommendations.

- For Miami-Dade Hurricane Hatch™, install using the manufacturer’s anchoring options as detailed on shop drawings and installation instructions for wood curbs, steel curbs or concrete curbs.

- Coordinate installation of components of this Section with installation of roof deck, roof structure, roofing membrane, and base flashing.

- Coordinate installation of sealant and roofing cement with Work of this Section to ensure water tightness.

- Securely anchor roof accessories in compliance with manufacturer's instructions.

- Set units plumb, level, and true to line without warp or rack. Separate metal from incompatible metal or corrosive substrates, including wood, by coating concealed surfaces, at locations of contact, with bituminous coating or providing other permanent separation.

- Flange Seals:  Unless otherwise indicated, set flanges of accessory units in a thick bed of roofing cement to form a seal

3.3	FIELD QUALITY CONTROL

- Smoke Vent Testing:  Test for proper operation after installation by one or all of the operational methods:

- Melting fusible link for inside at smoke vent level recommend using hand held propane tank torch.  Replace fusible link, then close vents from the exterior at the roof top level.

- Pull internal and/or external manual pull handles and then close vents from the exterior at the roof top level.

- If applicable; open the vents using an electrical signal for fire alarm, push button or other, then close vent from the exterior at the roof top level.

- Do not paint the internal mechanisms, especially moving parts such as spring/dampers, rotary latches and especially the fusible links.  Painting any of these components may damage the vents and will void the warranty.

3.4	ADJUSTING

- Adjust movable parts for smooth operation.

- Operational Units:  Test-operate units with operable components.  Clean and lubricate joints and hardware.  Adjust for proper operation.

3.5	CLEANING

- Clean exposed surfaces per manufacturer's written instructions.  Touch up damaged metal coatings.

END OF SECTION

Rev 01/18